{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":4,"n_cols":10,"rows_kept":4,"merged":[[0,0,0,9],[1,0,1,9]],"flags":["formulas_cached_only"]}
["中央生态环境保护督察组群众信访举报办理情况公开表"]
["整改责任单位（盖章）：长寿区人民政府                                                                                                                                                                  2024年11月12日"]
["序号","受理编号","交办问题基本情况","问题\n类型","调查核实情况","是否\n属实","办结目标","处理和整改情况","是否办结","责任人被处理情况"]
[1,"X3CQ202405180052","长寿区海棠镇石桥坝村天然气净化厂引进分厂排放废气，养菌的污水设备长期运行不正常，污水量、排放量、处理量不对应，厂里面外排污水的排口不合理，污水日常存放在几个大池内，遇下雨或者污水多时，夜间混合清水通过外排口偷排至厂门前小溪沟，污染小河。","水","问题部分属实\n1.排放废气问题属实。对该公司法定废气排口及厂界无组织废气开展监测，监测结果均达标。但部分污水池在污水处理过程中存在臭气散排。\n2.不正常运行污水处置装置问题不属实。现场调取生化池运行维护相关资料，公司污水总排口水样监测结果达标，综合显示污水设备系统运行正常。\n3.污水产生量、处理量、排放量不对应问题不属实。经比对相关资料，公司实际生产负荷与实际污水处理负荷基本对应，且污水处理能力满足实际要求。\n4.该公司污水排口不合理问题部分属实。该公司依法设置法定污水排口，但部分标识标牌设置不规范。\n5.偷排污水至打鱼溪问题不属实。巡查周边未发现偷排行为及痕迹，走访调查，未接到该厂偷排污水的相关反映。","部分\n属实","1.督促引进分厂立即完善相关标识标牌。\n2.按照整改方案逐步完成污水处理池加盖工作，对散排臭气集中收集处置，减少散排异味，达到群众满意的效果。","（一）引进分厂针对污水在曝气或好氧等处理过程中存在废气散排情况，制定了《引进分厂污水池恶臭治理工程》方案，并按照该方案开展污水池恶臭治理项目。目前已完成项目实施，区生态环境监测站对该公司厂界无组织废气开展布点监测，监测结果符合相关标准限值要求。\n（二）长寿区生态环境局以“双随机、一公开”为依托对引进分厂开展执法监管，如发现不正常运行污染治理设施等环境违法行为，将依法查处。\n（三）引进分厂已对污水收集管网、污水处理池、污水排放口、厂区雨污切换阀等标识标牌进行规范设置。","已办结","无"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}